38656 | 97444 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38657 | 97450 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38658 | 97464 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38659 | 97465 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38660 | 97476 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38661 | 97491 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38662 | 97407 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38663 | 97411 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38664 | 97414 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38665 | 97420 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38666 | 97423 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38667 | 97449 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38668 | 97458 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38669 | 97459 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38670 | 97466 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38671 | 97410 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38672 | 97416 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38673 | 97417 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38674 | 97429 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38675 | 97432 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38676 | 97435 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38677 | 97436 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38678 | 97441 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38679 | 97442 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38680 | 97443 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38681 | 97447 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38682 | 97457 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38683 | 97462 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38684 | 97467 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38685 | 97469 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38686 | 97470 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38687 | 97471 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38688 | 97473 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38689 | 97479 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38690 | 97481 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38691 | 97484 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38692 | 97486 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38693 | 97494 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38694 | 97495 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38695 | 97496 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38696 | 97499 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38697 | 97731 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38698 | 97497 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38699 | 97501 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38700 | 97502 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38701 | 97503 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38702 | 97504 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38703 | 97520 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38704 | 97522 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38705 | 97524 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38706 | 97525 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38707 | 97526 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38708 | 97527 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38709 | 97530 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38710 | 97535 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38711 | 97536 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38712 | 97537 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38713 | 97539 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38714 | 97540 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38715 | 97541 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38716 | 97544 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38717 | 97523 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38718 | 97528 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38719 | 97531 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38720 | 97532 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38721 | 97533 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38722 | 97534 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38723 | 97538 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38724 | 97543 | OR | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38725 | 98001 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38726 | 98002 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38727 | 98003 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38728 | 98004 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38729 | 98005 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38730 | 98006 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38731 | 98007 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38732 | 98008 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38733 | 98009 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38734 | 98010 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38735 | 98011 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38736 | 98014 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38737 | 98015 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38738 | 98019 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38739 | 98022 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38740 | 98023 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38741 | 98024 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38742 | 98025 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38743 | 98027 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38744 | 98028 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38745 | 98029 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38746 | 98030 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38747 | 98031 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38748 | 98032 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38749 | 98033 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38750 | 98034 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38751 | 98035 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38752 | 98036 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38753 | 98038 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38754 | 98039 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38755 | 98040 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38756 | 98041 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38757 | 98042 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38758 | 98045 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38759 | 98047 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38760 | 98050 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38761 | 98051 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38762 | 98052 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38763 | 98053 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38764 | 98055 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38765 | 98056 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38766 | 98057 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38767 | 98058 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38768 | 98059 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38769 | 98062 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38770 | 98063 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38771 | 98064 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38772 | 98065 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38773 | 98068 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38774 | 98070 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38775 | 98071 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38776 | 98072 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38777 | 98073 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38778 | 98074 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38779 | 98075 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38780 | 98077 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38781 | 98083 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38782 | 98089 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38783 | 98092 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38784 | 98093 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38785 | 98101 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38786 | 98102 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38787 | 98103 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38788 | 98104 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38789 | 98105 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38790 | 98106 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38791 | 98107 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38792 | 98108 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38793 | 98109 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38794 | 98110 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38795 | 98111 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38796 | 98112 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38797 | 98113 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38798 | 98114 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38799 | 98115 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38800 | 98116 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38801 | 98117 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38802 | 98118 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38803 | 98119 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38804 | 98121 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38805 | 98122 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38806 | 98124 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38807 | 98125 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38808 | 98126 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38809 | 98127 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38810 | 98129 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38811 | 98131 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38812 | 98133 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38813 | 98134 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38814 | 98136 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38815 | 98138 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38816 | 98139 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38817 | 98144 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38818 | 98145 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38819 | 98146 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38820 | 98148 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38821 | 98154 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38822 | 98155 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38823 | 98158 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38824 | 98161 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38825 | 98164 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38826 | 98165 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38827 | 98166 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38828 | 98168 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38829 | 98170 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38830 | 98174 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38831 | 98175 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38832 | 98177 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38833 | 98178 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38834 | 98181 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38835 | 98185 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38836 | 98188 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38837 | 98191 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38838 | 98194 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38839 | 98195 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38840 | 98198 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38841 | 98199 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38842 | 98224 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38843 | 98251 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38844 | 98288 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38845 | 98354 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38846 | 98422 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38847 | 98303 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38848 | 98304 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38849 | 98321 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38850 | 98323 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38851 | 98327 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38852 | 98328 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38853 | 98329 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38854 | 98330 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38855 | 98332 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38856 | 98333 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38857 | 98335 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38858 | 98338 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38859 | 98344 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38860 | 98348 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38861 | 98349 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38862 | 98351 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38863 | 98352 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38864 | 98359 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38865 | 98360 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38866 | 98371 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38867 | 98372 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38868 | 98373 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38869 | 98374 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38870 | 98375 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38871 | 98385 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38872 | 98387 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38873 | 98388 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38874 | 98390 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38875 | 98391 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38876 | 98394 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38877 | 98395 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38878 | 98396 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38879 | 98397 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38880 | 98398 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38881 | 98401 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38882 | 98402 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38883 | 98403 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38884 | 98404 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38885 | 98405 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38886 | 98406 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38887 | 98407 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38888 | 98408 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38889 | 98409 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38890 | 98411 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38891 | 98413 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38892 | 98416 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38893 | 98417 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38894 | 98418 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38895 | 98419 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38896 | 98421 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38897 | 98424 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38898 | 98430 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38899 | 98431 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38900 | 98433 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38901 | 98438 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38902 | 98439 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38903 | 98443 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38904 | 98444 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38905 | 98445 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38906 | 98446 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38907 | 98447 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38908 | 98448 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38909 | 98464 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38910 | 98465 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38911 | 98466 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38912 | 98467 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38913 | 98490 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38914 | 98493 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38915 | 98496 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38916 | 98498 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38917 | 98499 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38918 | 98528 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38919 | 98558 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38920 | 98580 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38921 | 98937 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38922 | 98012 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38923 | 98020 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38924 | 98021 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38925 | 98026 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38926 | 98037 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38927 | 98043 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38928 | 98046 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38929 | 98082 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38930 | 98087 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38931 | 98201 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38932 | 98203 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38933 | 98204 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38934 | 98206 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38935 | 98207 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38936 | 98208 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38937 | 98213 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38938 | 98223 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38939 | 98241 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38940 | 98252 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38941 | 98256 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38942 | 98258 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38943 | 98259 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38944 | 98270 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38945 | 98271 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38946 | 98272 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38947 | 98275 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38948 | 98282 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38949 | 98287 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38950 | 98290 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38951 | 98291 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38952 | 98292 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38953 | 98293 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38954 | 98294 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38955 | 98296 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38956 | 98061 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38957 | 98310 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38958 | 98311 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38959 | 98312 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38960 | 98314 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38961 | 98315 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38962 | 98322 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38963 | 98337 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38964 | 98340 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38965 | 98342 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38966 | 98345 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38967 | 98346 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38968 | 98353 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38969 | 98364 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38970 | 98366 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38971 | 98367 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38972 | 98370 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38973 | 98380 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38974 | 98383 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38975 | 98384 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38976 | 98386 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38977 | 98392 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38978 | 98393 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38979 | 98220 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38980 | 98225 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38981 | 98226 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38982 | 98227 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38983 | 98228 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38984 | 98229 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38985 | 98230 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38986 | 98231 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38987 | 98237 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38988 | 98240 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38989 | 98244 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38990 | 98247 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38991 | 98248 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38992 | 98262 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38993 | 98264 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38994 | 98266 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38995 | 98276 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38996 | 98281 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38997 | 98283 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38998 | 98284 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
38999 | 98295 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39000 | 98221 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39001 | 98222 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39002 | 98243 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39003 | 98245 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39004 | 98250 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39005 | 98261 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39006 | 98279 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39007 | 98280 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39008 | 98286 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39009 | 98297 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39010 | 98232 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39011 | 98233 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39012 | 98235 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39013 | 98238 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39014 | 98255 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39015 | 98257 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39016 | 98263 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39017 | 98267 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39018 | 98273 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39019 | 98274 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39020 | 98236 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39021 | 98239 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39022 | 98249 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39023 | 98253 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39024 | 98260 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39025 | 98277 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39026 | 98278 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39027 | 98336 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39028 | 98355 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39029 | 98356 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39030 | 98361 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39031 | 98377 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39032 | 98522 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39033 | 98531 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39034 | 98532 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39035 | 98533 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39036 | 98538 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39037 | 98539 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39038 | 98542 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39039 | 98544 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39040 | 98564 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39041 | 98565 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39042 | 98568 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39043 | 98570 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39044 | 98572 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39045 | 98579 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39046 | 98582 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39047 | 98585 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39048 | 98591 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39049 | 98593 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39050 | 98596 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39051 | 98305 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39052 | 98324 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39053 | 98326 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39054 | 98331 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39055 | 98343 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39056 | 98350 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39057 | 98357 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39058 | 98362 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39059 | 98363 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39060 | 98381 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39061 | 98382 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39062 | 98502 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39063 | 98524 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39064 | 98541 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39065 | 98546 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39066 | 98548 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39067 | 98555 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39068 | 98557 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39069 | 98560 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39070 | 98563 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39071 | 98584 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39072 | 98588 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39073 | 98592 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39074 | 98320 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39075 | 98325 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39076 | 98339 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39077 | 98358 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39078 | 98365 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39079 | 98368 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39080 | 98376 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39081 | 98501 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39082 | 98503 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39083 | 98505 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39084 | 98506 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39085 | 98507 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39086 | 98508 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39087 | 98509 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39088 | 98511 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39089 | 98512 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39090 | 98513 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39091 | 98516 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39092 | 98530 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39093 | 98540 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39094 | 98556 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39095 | 98576 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39096 | 98589 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39097 | 98597 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39098 | 98520 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39099 | 98526 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39100 | 98535 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39101 | 98536 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39102 | 98537 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39103 | 98547 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39104 | 98550 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39105 | 98552 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39106 | 98559 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39107 | 98562 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39108 | 98566 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39109 | 98569 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39110 | 98571 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39111 | 98575 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39112 | 98583 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39113 | 98587 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39114 | 98595 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39115 | 98527 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39116 | 98554 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39117 | 98561 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39118 | 98577 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39119 | 98586 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39120 | 98590 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39121 | 98614 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39122 | 98624 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39123 | 98631 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39124 | 98637 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39125 | 98638 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39126 | 98640 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39127 | 98641 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39128 | 98644 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39129 | 98581 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39130 | 98601 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39131 | 98603 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39132 | 98609 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39133 | 98611 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39134 | 98616 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39135 | 98625 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39136 | 98626 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39137 | 98632 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39138 | 98645 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39139 | 98649 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39140 | 98674 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39141 | 98604 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39142 | 98606 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39143 | 98607 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39144 | 98622 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39145 | 98629 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39146 | 98642 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39147 | 98660 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39148 | 98661 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39149 | 98662 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39150 | 98663 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39151 | 98664 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39152 | 98665 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39153 | 98666 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39154 | 98668 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39155 | 98671 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39156 | 98675 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39157 | 98682 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39158 | 98683 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39159 | 98684 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39160 | 98685 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39161 | 98686 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39162 | 98687 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39163 | 98612 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39164 | 98621 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39165 | 98643 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39166 | 98647 | WA | NWPPc | Mixed mild | NWPPc_Mixed mild_4C | 4
39167 | 99545 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39168 | 99551 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39169 | 99552 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39170 | 99557 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39171 | 99559 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39172 | 99561 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39173 | 99575 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39174 | 99578 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39175 | 99589 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39176 | 99607 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39177 | 99609 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39178 | 99614 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39179 | 99621 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39180 | 99622 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39181 | 99626 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39182 | 99630 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39183 | 99634 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39184 | 99637 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39185 | 99641 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39186 | 99651 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39187 | 99655 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39188 | 99656 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39189 | 99668 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39190 | 99679 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39191 | 99680 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39192 | 99681 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39193 | 99690 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39194 | 99554 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39195 | 99563 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39196 | 99581 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39197 | 99585 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39198 | 99604 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39199 | 99620 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39200 | 99632 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39201 | 99650 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39202 | 99657 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39203 | 99658 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39204 | 99662 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39205 | 99666 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39206 | 99555 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39207 | 99569 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39208 | 99576 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39209 | 99580 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39210 | 99628 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39211 | 99636 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39212 | 99678 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39213 | 99558 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39214 | 99590 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39215 | 99602 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39216 | 99627 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39217 | 99665 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39218 | 99675 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39219 | 99691 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39220 | 99720 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39221 | 99722 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39222 | 99724 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39223 | 99726 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39224 | 99730 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39225 | 99733 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39226 | 99740 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39227 | 99741 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39228 | 99745 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39229 | 99746 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39230 | 99748 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39231 | 99754 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39232 | 99756 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39233 | 99757 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39234 | 99758 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39235 | 99760 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39236 | 99765 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39237 | 99767 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39238 | 99768 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39239 | 99774 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39240 | 99777 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39241 | 99781 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39242 | 99788 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39243 | 99659 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39244 | 99671 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39245 | 99684 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39246 | 99739 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39247 | 99742 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39248 | 99753 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39249 | 99762 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39250 | 99769 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39251 | 99771 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39252 | 99772 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39253 | 99778 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39254 | 99783 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39255 | 99784 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39256 | 99785 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39257 | 99701 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39258 | 99702 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39259 | 99703 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39260 | 99705 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39261 | 99706 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39262 | 99707 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39263 | 99708 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39264 | 99709 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39265 | 99710 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39266 | 99712 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39267 | 99714 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39268 | 99725 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39269 | 99775 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39270 | 99790 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39271 | 99721 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39272 | 99723 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39273 | 99734 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39274 | 99747 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39275 | 99759 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39276 | 99766 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39277 | 99782 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39278 | 99789 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39279 | 99791 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39280 | 99727 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39281 | 99736 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39282 | 99749 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39283 | 99750 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39284 | 99751 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39285 | 99752 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39286 | 99761 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39287 | 99763 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39288 | 99770 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39289 | 99773 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39290 | 99786 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39291 | 99731 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39292 | 99732 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39293 | 99737 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39294 | 99738 | AK | AKGD | Cold or very cold | AKGD_Cold or very cold_7/8 | 8
39295 | 99764 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39296 | 99776 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
39297 | 99780 | AK | AKMS | Cold or very cold | AKMS_Cold or very cold_7/8 | 8
T1A - T9Z | T | AB | Alberta |  | Alberta
V0A - V9Z | V | BC | British Columbia |  | British Columbia
R0A - R9Z | R | MB | Manitoba |  | Manitoba
E1A - E9Z | E | NB | New Brunswick |  | New Brunswick
A0A - A9Z | A | NL | Newfoundland |  | Newfoundland
X0A - X0Z | X | NT | Northwest Territory |  | Territories
B0A - B9Z | B | NS | Nova Scotia |  | Nova Scotia
X0A - X9Z | X | NU | Nunavut |  | Territories
K0A - K9Z | K | ON | Ontario |  | Ontario
L0A - L9Z | L | ON | Ontario |  | Ontario
M1A - M9Z | M | ON | Ontario |  | Ontario
N0A - N9Z | N | ON | Ontario |  | Ontario
P0A - P9Z | P | ON | Ontario |  | Ontario
C0A - C9Z | C | PE | Prince Edward Island |  | Prince Edward Island
G0A - G9Z | G | QC | Quebec |  | Quebec
H0A - H9Z | H | QC | Quebec |  | Quebec
J0A - J9Z | J | QC | Quebec |  | Quebec
S0A - S9Z | S | SK | Saskatchewan |  | Saskatchewan
Y0A - Y9Z | Y | YT | Yukon Territory |  | Territories
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