## Summary
Version: May 2026
Terms of Use & Disclaimer
DISCLAIMER – TECHNICAL BLUEPRINT 1. PURPOSE This Technical Blueprint is provided by CRREM as a step-by-step technical specification for building a CRREM assessment tool. Intended for developers, AI agents, or analysts replicating the CRREM methodology programmatically. CRREM provides this Technical Blueprint solely as a guidance tool. CRREM does not review, audit, verify, or otherwise validate the assumptions, data inputs, or disclosures made by users in this Technical Blueprint. CRREM shall not be held accountable for any errors, omissions, or misrepresentations in user-completed disclosures. 2. CALCULATIONS AND FORMULAS All underlying calculations, formulas, and computational logic contained in this workbook are provided strictly on an "as-is" basis for informational and illustrative purposes only. Users who choose to rely upon, apply, or adapt any calculations or formulas do so entirely at their own risk. CRREM makes no representation or warranty that any calculation or formula is free from errors, complete, or suitable for any specific application. Users are solely responsible for independently verifying all outputs before relying on them for decision-making, reporting, or compliance purposes. 3. NO LICENSING OR INTELLECTUAL PROPERTY RIGHTS GRANTED This workbook does not constitute, and shall not be construed as, a grant, transfer, or license of any intellectual property rights, copyrights, database rights, or any other proprietary rights. All rights in any referenced third-party data, methodologies, or standards remain exclusively with their respective owners. Users who wish to obtain licenses or permissions for any referenced materials must contact the original publishers directly. 4. ACCURACY AND COMPLETENESS While CRREM has exercised reasonable care in designing this Technical Blueprint and formulating the recommended options and guidance contained herein, CRREM makes no representation or warranty, whether express or implied, as to the accuracy, completeness, reliability, timeliness, or fitness for any particular purpose of the framework or its contents. The disclosure items and recommendations may be updated periodically to reflect evolving best practices, regulatory requirements, or methodological developments. 5. NO LIABILITY To the fullest extent permitted by applicable law, CRREM, its affiliates, partners, directors, employees, and agents shall not be liable for any direct, indirect, incidental, consequential, special, or exemplary damages, losses, or costs of any kind arising out of or in connection with the use of, reliance upon, or inability to use this Technical Blueprint, regardless of the cause of action or the theory of liability, even if CRREM has been advised of the possibility of such damages. This includes, without limitation, any liability arising from incomplete or incorrect disclosures made by users. 6. USER RESPONSIBILITY Users are solely responsible for: (a) selecting the assumptions and methodological choices appropriate to their specific assets, portfolios, jurisdictions, and reporting requirements; (b) ensuring the accuracy and completeness of all data and disclosures entered into this Technical Blueprint; (c) independently verifying that their disclosures are consistent with applicable regulatory, reporting, and stakeholder requirements; and (d) maintaining documentation sufficient to support and substantiate each disclosed assumption. Users should not rely on this framework as a substitute for professional advice or independent due diligence. 7. COMPARABILITY AND CONSISTENCY The value of this Technical Blueprint depends on consistent and honest application by all users. Assessments that use different assumptions or methodological choices may not be directly comparable. Users are encouraged to disclose all material deviations from CRREM's recommended options and to maintain consistency across reporting periods to support meaningful trend analysis. 8. CHANGES AND UPDATES CRREM reserves the right to modify, update, or discontinue this Technical Blueprint at any time without prior notice. CRREM is under no obligation to notify users of changes to the framework or to maintain backward compatibility with prior versions. © CRREM – Carbon Risk Real Estate Monitor. All rights reserved with respect to the design and structure of this Technical Blueprint.

## Asset Level Worked Examples
CRREM WORKED EXAMPLES 4 Assets ¦ Assessment Year: 2024 ¦
4 assets: Office Manhattan (District Heat) ¦ HK Shopping Mall (District Cooling) ¦ London Mixed-Use Office+Retail with on-site PV ¦ Japan Distribution Warehouse (Heat Pump + large PV export)
Blue = user input ¦ Black = calculated from formula ¦ Yellow highlight = key output ¦ Grey = notes
The four buildings below are illustrative and do not represent real assets. Results may differ marginally from the legacy CRREM Risk Assessment Tool 2.07 depending on the settings selected and whether HDD/CDD climate normalization was applied.
STEP 1 Asset-Level Data Collection
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes / Validation
Asset_Name | — | Midtown Tower | Pacific Plaza Mall | Northgate Quarter | Tokyo Logistics Park
Asset_ID | — | A-001 | A-002 | A-003 | A-004 | Unique identifier per asset
GAV | USD | 185000000 | 420000000 | 95000000 | 62000000 | Optional. Gross Asset Value in consistent currency. Not used in asset-level intensity outputs.
Country | — | USA (New York) | Hong Kong | United Kingdom | Japan
Postal_Code | text | 10005 | 999077 | NW1 8NX | 272-0001 | Store as text. Only required for countries with sub-national CRREM regions (USA, CAN, AUS). Used to resolve the CRREM_Region via Postal Code Lookup (Step 5.1). For other countries (e.g. HK, UK), this field is optional.
Property_Type | — | Office | Shopping Center | Mixed Use | Distribution Warehouse Warm | Must match CRREM property type exactly
MU_Breakdown | % GIA | n/a | n/a | 65% Office / 35% Retail High Street | n/a | Only for Mixed Use assets (Step 5.2)
Reporting_Year | yyyy | 2024 | 2024 | 2024 | 2024 | Must exist in Pathways & EF datasets
GIA | m² | 7500 | 22000 | 12000 | 15000 | > 0; whole-building; excl. indoor parking
Elec_Grid | kWh/yr | 570000 | 2800000 | 1100000 | 741000 | Whole-building grid electricity (landlord + tenant). Asset 4: electricity consumed by heat pump compressor NOT the heat output.
Gas | kWh/yr | 0 | 320000 | 480000 | 0 | Asset 2: gas for hot water (food court) & backup heating. Assets 1+4: no gas.
Oil | kWh/yr | 0 | 0 | 0 | 0
District_Heating | kWh/yr | 620000 | 0 | 0 | 0 | Asset 1 only. NOTE: Use location-specific EF from utility provider (e.g. Con Edison Steam NYC). EFs for district systems vary significantly the default Gas EF is a placeholder only.
District_Cooling | kWh/yr | 0 | 2000000 | 0 | 0 | Asset 2 only: large refrigerated mall. Use CLP/HEC site-specific chiller EF 0.38 kgCO2e/kWh used here as representative value.
Biomass_Other | kWh/yr | 0 | 0 | 0 | 0
Renew_Consumed | kWh/yr | 0 | 0 | 120000 | 100000 | On-site PV generated & consumed on-site. EF=0. Counts toward total energy (building is still consuming it).
Renew_Exported | kWh/yr | 0 | 0 | 60000 | 180000 | Exported to grid. NOT in total energy. Used only for grid export credit in Step 4 (capped at CO2_Elec).
STEP 2 Whole-Building Energy & Energy Use Intensity (EUI)
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes
Total_Energy | kWh/yr | 1190000 | 5120000 | 1700000 | 841000 | SUM of all energy types incl. Renew_Consumed. Renew_Exported is NOT included here.
EUI | kWh/m²/yr | 158.6667 | 232.7273 | 141.6667 | 56.0667 | KEY OUTPUT ➜ Total_Energy / GIA. Compare against CRREM EUI Pathway (Step 5).
⚠ Data normalization: CRREM does not currently provide official guidance on normalizing energy data for vacancy, partial-year reporting, or other data gaps. The legacy CRREM Excel tool addressed missing monthly data by linear extrapolation. We recommend performing any normalization or gap-filling prior to this assessment and transparently documenting the methodology applied.
STEP 3 Emission Factor Data
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes
EF_Electricity (2024) | kgCO2e/kWh | 0.23705 | 0.54535 | 0.1485 | 0.41673 | From 'Example Input' grid EF columns, 2024 row. Grid decarbonizes annually — use Reporting_Year column in Step 6 forward projection.
EF_Gas | kgCO2e/kWh | 0 | 0.18316 | 0.18316 | 0 | Assets 2+3 (have gas). Constant combustion EF ≈ 0.183 kgCO2e/kWh ('Example Input' Section 4). Assets 1+4: no gas.
EF_District_Heating (DH) | kgCO2e/kWh | 0.20431 | 0 | 0 | 0 | Asset 1 only. IMPORTANT: This uses a steam/heat default EF ('Example Input' Section 4 = 0.20431). For NYC Con Edison Steam, replace with the official utility-reported EF — district system EFs vary significantly by city and year.
EF_District_Cooling (DC) | kgCO2e/kWh | 0 | 0.38 | 0 | 0 | Asset 2 only. Representative EF for CLP/HEC-powered chiller plant in HK ≈ 0.38 kgCO2e/kWh. Replace with site-specific EF from utility.
EF_On-site Renewables | kgCO2e/kWh | 0 | 0 | 0 | 0 | Always 0 by CRREM definition. On-site RE has zero carbon impact. Still counted in total energy (EUI).
STEP 4 Carbon Intensity Calculation
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes
CO2_Elec | kgCO2e/yr | 135121.3174 | 1526990.8158 | 163351.4835 | 308794.9091 | Elec_Grid × EF_Electricity
CO2_Gas | kgCO2e/yr | 0 | 58611.2 | 87916.8 | 0 | Gas × EF_Gas. Assets 1+4 = 0 (no gas). Assets 2+3 have gas.
CO2_Oil | kgCO2e/yr | 0 | 0 | 0 | 0 | Oil × EF_Oil (none in this example)
CO2_DH | kgCO2e/yr | 126672.2 | 0 | 0 | 0 | District Heating × EF_DH. Asset 1 only.
CO2_DC | kgCO2e/yr | 0 | 760000 | 0 | 0 | District Cooling × EF_DC. Asset 2 only.
CO2_Biomass_Other | kgCO2e/yr | 0 | 0 | 0 | 0 | Biomass/Other (all zero here)
CO2_Renew | kgCO2e/yr | 0 | 0 | 0 | 0 | EF = 0 always. Included for audit trail.
Total_CO2_gross | kgCO2e/yr | 261793.5174 | 2345602.0158 | 251268.2835 | 308794.9091 | Sum of all types CO2 before grid export credit
Raw_Export_Credit | kgCO2e/yr | 0 | 0 | 8910.0809 | 75010.9091 | Renew_Exported × EF_Electricity (uncapped). Assets 1+2 = 0 (no export).
Grid_Export_Credit | kgCO2e/yr | 0 | 0 | 8910.0809 | 75010.9091 | CAPPED at CO2_Elec: MIN(Raw_Credit, CO2_Elec). Cannot offset gas/DH/DC emissions with solar export.
Net_CO2 | kgCO2e/yr | 261793.5174 | 2345602.0158 | 242358.2025 | 233784 | Total_CO2_gross − Grid_Export_Credit
Carbon_Intensity | kgCO2e/m²/yr | 34.9058 | 106.6183 | 20.1965 | 15.5856 | KEY OUTPUT ➜ Net_CO2 / GIA. Compare against CRREM CO2 Pathway (Step 6).
STEP 5 Pathway Selection
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes
CO2 Pathway: Office, NYSTc_Mixed mild_4A (2024) | kgCO2e/m²/yr | 35.0558 |  |  |  | From 'Example Input' Section 2. NYSTc_Mixed mild_4A = New York eGRID subregion, Mixed mild climate zone 4A.
CO2 Pathway: Shopping Center, HK (2024) | kgCO2e/m²/yr |  | 179.6198 |  |  | From 'Example Input' Section 2.
CO2 Pathway: Office, UK (2024) | kgCO2e/m²/yr |  |  | 35.6892 |  | From 'Example Input' Section 2. Used in mixed-use blend (65% weight).
CO2 Pathway: Office, UK (2024) | kgCO2e/m²/yr |  |  | 42.3653 |  | From 'Example Input' Section 2. Used in mixed-use blend (35% weight).
CO2 Pathway: Dist. Warehouse Warm, JAP (2024) | kgCO2e/m²/yr |  |  |  | 33.9409 | From 'Example Input' Section 2.
EUI Pathway: Office, NYSTc_Mixed mild_4A (2024) | kWh/m²/yr | 143.7203 |  |  |  | From 'Example Input' Section 3.
EUI Pathway: Shopping Center, HK (2024) | kWh/m²/yr |  | 340.3511 |  |  | From 'Example Input' Section 3.
EUI Pathway: Dist. Warehouse Warm, JAP (2024) | kWh/m²/yr |  |  |  | 92.8885 | From 'Example Input' Section 3.
CO2 Pathway BLENDED, Mixed-Use UK (2024) | kgCO2e/m²/yr |  |  | 38.0258 |  | 65%×Office_UK + 35%×Retail_HS_UK. Per CRREM Spec Step 5.2: blended pathway recalculated each year t. Formula: =0.65*UK.OFF(t)+0.35*UK.RHS(t).
STEP 6 Determining the CRREM Misalignment Year
Project the asset's energy and carbon intensity forward from the reporting year to 2050, then compare against the pathway to find the first year the asset exceeds it.
6.1 Forward Projection (no-retrofit baseline)
Assumptions: Energy demand stays flat (no retrofit, no climate change impact assumed). Only grid electricity EF changes year over year. All other EFs (gas, oil, biomass) remain constant. This table shows how the declining grid EF alone reduces Carbon Intensity over time, even without any building-level intervention. Asset 1 also uses the DH legacy fallback EF which declines in proportion to the grid EF.
Grid Electricity EF Trajectory (kgCO2e/kWh)
Year | NYSTc (Asset 1) | HK (Asset 2) | UK (Asset 3) | JAP (Asset 4)
2024 | 0.23705 | 0.54535 | 0.1485 | 0.41673
2025 | 0.20163 | 0.46613 | 0.13234 | 0.41045
2026 | 0.1662 | 0.3869 | 0.11619 | 0.40418
2027 | 0.1547 | 0.30768 | 0.10003 | 0.39791
2028 | 0.1432 | 0.22845 | 0.083875 | 0.39164
2029 | 0.098902 | 0.14923 | 0.067718 | 0.38536
2030 | 0.054598 | 0.07 | 0.051562 | 0.37909
2031 | 0.048171 | 0.0665 | 0.040833 | 0.37
2032 | 0.041744 | 0.063 | 0.035293 | 0.36091
2033 | 0.035318 | 0.0595 | 0.030649 | 0.35182
2034 | 0.028891 | 0.056 | 0.027824 | 0.34273
2035 | 0.022464 | 0.0525 | 0.024822 | 0.33364
2036 | 0.017971 | 0.049 | 0.020533 | 0.32455
2037 | 0.013478 | 0.0455 | 0.018263 | 0.31545
2038 | 0.0089854 | 0.042 | 0.01784 | 0.30636
2039 | 0.0044927 | 0.0385 | 0.016891 | 0.29727
2040 | 0 | 0.035 | 0.015306 | 0.28818
2041 | 0 | 0.0315 | 0.012706 | 0.27909
2042 | 0 | 0.028 | 0.012059 | 0.27
2043 | 0 | 0.0245 | 0.011812 | 0.26091
2044 | 0 | 0.021 | 0.011102 | 0.25182
2045 | 0 | 0.0175 | 0.0094285 | 0.24273
2046 | 0 | 0.014 | 0.0085603 | 0.23364
2047 | 0 | 0.0105 | 0.007893 | 0.22455
2048 | 0 | 0.007 | 0.0074913 | 0.21545
2049 | 0 | 0.0035 | 0.0069709 | 0.20636
2050 | 0 | 0 | 0.0068512 | 0.19727
Projected Carbon Intensity (kgCO2e/m²/yr) under flat energy demand + declining grid EF
Year | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse
2024 | 34.9058 | 106.6183 | 20.1965 | 15.5856
2025 | 32.2132 | 96.535 | 18.7963 | 15.351
2026 | 29.5206 | 86.4517 | 17.396 | 15.1164
2027 | 28.6469 | 76.3685 | 15.9958 | 14.8818
2028 | 27.7732 | 66.2852 | 14.5956 | 14.6472
2029 | 24.4062 | 56.202 | 13.1953 | 14.4126
2030 | 21.0391 | 46.1187 | 11.7951 | 14.178
2031 | 20.5507 | 45.6732 | 10.8653 | 13.838
2032 | 20.0622 | 45.2278 | 10.3851 | 13.498
2033 | 19.5738 | 44.7823 | 9.9827 | 13.158
2034 | 19.0853 | 44.3369 | 9.7378 | 12.818
2035 | 18.5969 | 43.8914 | 9.4776 | 12.478
2036 | 18.2554 | 43.446 | 9.1059 | 12.138
2037 | 17.914 | 43.0005 | 8.9092 | 11.798
2038 | 17.5725 | 42.5551 | 8.8725 | 11.458
2039 | 17.2311 | 42.1096 | 8.7903 | 11.118
2040 | 16.8896 | 41.6641 | 8.653 | 10.778
2041 | 16.8896 | 41.2187 | 8.4276 | 10.438
2042 | 16.8896 | 40.7732 | 8.3715 | 10.098
2043 | 16.8896 | 40.3278 | 8.3501 | 9.758
2044 | 16.8896 | 39.8823 | 8.2886 | 9.418
2045 | 16.8896 | 39.4369 | 8.1435 | 9.078
2046 | 16.8896 | 38.9914 | 8.0683 | 8.738
2047 | 16.8896 | 38.546 | 8.0105 | 8.398
2048 | 16.8896 | 38.1005 | 7.9756 | 8.058
2049 | 16.8896 | 37.6551 | 7.9305 | 7.718
2050 | 16.8896 | 37.2096 | 7.9202 | 7.378
6.2 Identifying the Misalignment Year
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes
CO2_Pathway (2024) | kgCO2e/m²/yr | 35.0558 | 179.6198 | 38.0258 | 33.9409 | From Step 5. Asset 3: blended CRREM Pathway (65%×Office_UK + 35%×Retail_HS_UK). All others: direct CRREM Pathway lookup.
CO2_Misalignment_Year | year | 2025 | 2036 | 2036 | 2032 | KEY OUTPUT. Uses Step 6.1 projected Carbon_Intensity(t) trajectory. Finds first year t (from Reporting Year to 2050) where CI(t) > CO2_Pathway(t).
EUI_Misalignment_Year | year | 2024 | 2031 | 2030 | 2030 | KEY OUTPUT. EUI held flat from Reporting Year. Finds first year t where EUI > EUI_Pathway(t).
CO2_Misalignment_Year uses the Step 6.1 projected Carbon_Intensity(t) trajectory (declining via grid decarbonization) against the CRREM CO2 Pathway. EUI_Misalignment_Year uses the flat EUI from Step 2 against the declining CRREM EUI Pathway. Both start from Reporting Year (2024). If already exceeded, report Reporting Year. If no crossing through 2050, report 'Beyond 2050'.
RETROFIT SCENARIO (Illustrative — Not Part of Official CRREM Methodology)
⚠ This section is NOT part of the official CRREM assessment methodology. It provides a simplified illustrative example of how a future energy retrofit (uniform % reduction across all energy typess) could shift the Misalignment Year. In practice, retrofits affect individual typess differently, may change over time, and require detailed engineering assumptions. This is included for internal demonstration purposes only.
User Inputs
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes
Retrofit_Year | yyyy | 2028 | 2028 | 2028 | 2028 | Year in which the retrofit takes effect (must be between 2024 and 2050). Energy demand drops from this year onward.
Energy_Reduction_% | % | 20% | 20% | 20% | 20% | Uniform reduction applied to ALL energy typess (electricity, gas, DH, DC, renewables). Simplified assumption — real retrofits affect typess unevenly.
Post-Retrofit Outputs
Field | Unit | Asset 1: Office Manhattan | Asset 2: HK Shopping Mall | Asset 3: Mixed-Use London | Asset 4: Japan Warehouse | Notes
Post-Retrofit EUI | kWh/m²/yr | 126.9333 | 186.1818 | 113.3333 | 44.8533 | = EUI × (1 − Energy_Reduction_%). Uniform reduction across all typess.
Post-Retrofit Carbon Intensity (at Retrofit Year) | kgCO2e/m²/yr | 22.2186 | 53.0282 | 11.6764 | 11.7178 | Carbon Intensity from Step 6.1 projection at the Retrofit Year, reduced by Energy_Reduction_%. Uses projected CI (which already accounts for grid decarbonization up to that year).
New CO2_Misalignment_Year | year | 2031 | 2037 | 2037 | 2033 | KEY OUTPUT ➡ First year where post-retrofit Carbon Intensity > CO2 Pathway. Compare with original CO2_Misalignment_Year (Step 6) to see the retrofit benefit.
New EUI_Misalignment_Year | year | 2027 | 2034 | 2033 | 2032 | KEY OUTPUT ➡ First year where post-retrofit EUI > EUI Pathway. Since EUI reduction is instant (flat post-retrofit), this uses the reduced EUI directly against the pathway.
Comparison: Original vs. Post-Retrofit Misalignment
Original CO2 Misalignment Year | year | 2025 | 2036 | 2036 | 2032 | From Step 6 (no retrofit)
New CO2 Misalignment Year | year | 2031 | 2037 | 2037 | 2033 | Post-retrofit scenario
CO2 Misalignment Shift | years | 6 | 1 | 1 | 1 | Positive = retrofit delays Misalignment Year. Shows how many years the Misalignment Year shifts.
SUMMARY OF KEY FORMULAS
Metric |  | Formula
Total Energy |  | SUM all energy types incl. on-site renewables consumed on-site
EUI |  | Total_Energy / GIA
CO2 per type |  | Energy_type × EF_type (EF=0 for on-site RE)
Grid export credit |  | MIN(Exported_RE × EF_grid, Grid_Elec × EF_grid)
Carbon Intensity |  | (Total_CO2 − Grid_Export_Credit) / GIA
Mixed-use pathway |  | SUM(Pathway_type × GIA_share_type) per year
REQUIRED REFERENCE DATA FILES
File |  | Contents
Postal Code Lookup Table |  | Maps postal codes to country/region pathway identifier
CRREM Pathways Dataset |  | Year-by-year energy + carbon budgets by country, property type
Emission Factors Dataset |  | EFs per type, per country, per year (with annual grid EF projections)
HDD/CDD Projections Dataset [Optional] |  | HDD and CDD projections by location and year under climate scenarios (e.g. SSP5-8.5, SSP2-4.5). Required for Step 6.1a.

## Portfolio Level Worked Examples
CRREM WORKED EXAMPLES ¦ Portfolio Aggregation ¦ 4 Assets ¦
GIA-weighted portfolio aggregation per CRREM PF Spec. Inputs taken from Examples Asset-level sheet.
Blue = input from asset-level ¦ Black = calculated from formula ¦ Yellow highlight = key output ¦ Grey = notes
The four buildings below are illustrative and do not represent real assets. Results may differ marginally from the legacy CRREM Risk Assessment Tool 2.07 depending on the settings selected and whether HDD/CDD climate normalization was applied.
STEP 1 Assemble Asset-Level Results
Field | Unit | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Notes
Asset_ID | — | A-001 | A-002 | A-003 | A-004 | From asset-level Step 1
Asset_Name | — | Midtown Tower | Pacific Plaza Mall | Northgate Quarter | Tokyo Logistics Park
Country | — | USA (New York) | Hong Kong | United Kingdom | Japan
Property_Type | — | Office | Shopping Center | Mixed Use | Japan
GIA | m² | 7500 | 22000 | 12000 | 15000 | From asset-level Step 1. Weighting denominator.
Carbon_Intensity | kgCO2e/m²/yr | 34.9058 | 106.6183 | 20.1965 | 15.5856 | KEY OUTPUT from asset-level Step 4
EUI | kWh/m²/yr | 158.6667 | 232.7273 | 141.6667 | 56.0667 | KEY OUTPUT from asset-level Step 2
GAV | USD | 185000000 | 420000000 | 95000000 | 62000000 | Optional. Not used in GIA-weighted aggregation.
CO2_Pathway (2024) | kgCO2e/m²/yr | 35.0558 | 179.6198 | 38.0258 | 33.9409 | From asset-level Step 5. Full time series required for Step 3.1.
EUI_Pathway (2024) | kWh/m²/yr | 143.7203 | 340.3511 | 190.9201 | 92.8885 | From asset-level Step 5. Full time series required for Step 3.1.
CRREM_Region | — | NYSTc_Mixed mild_4A | HK | UK | JAP | CRREM region from asset-level Step 5. Equals Country code for most countries; sub-national code for USA/CAN/AUS (resolved via Postal Code Lookup).
STEP 2 GIA-Weighted Portfolio Aggregation
2.1 Compute GIA Weights
Calculation | Unit | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Notes
Total_GIA | m² | 56500 |  |  |  | SUM of all asset GIAs. Denominator for all weights.
GIA_Weight_j | % | 13.27% | 38.94% | 21.24% | 26.55% | GIA_j / Total_GIA. Must sum to 100%.
2.2 Aggregate Portfolio Performance Metrics
Metric | Unit | Portfolio Value |  |  |  | Notes
Portfolio_Carbon_Intensity | kgCO2e/m²/yr | 54.5759 |  |  |  | KEY OUTPUT. = SUM(GIA_Weight_j × CI_j). Equivalent to SUM(Net_CO2_j) / Total_GIA.
Portfolio_EUI | kWh/m²/yr | 156.6549 |  |  |  | KEY OUTPUT. = SUM(GIA_Weight_j × EUI_j). Equivalent to SUM(Total_Energy_j) / Total_GIA.
2.3 Project Portfolio Performance Forward (Reporting Year to 2050)
Using the GIA weights from Step 2.1 and the asset-level forward projections from Asset-Level Step 6.1, aggregate the projected asset-level carbon intensities into a portfolio-level time series from 2024 to 2050. Energy demand per asset is held constant; grid electricity EFs decline annually. EUI is held flat (no climate adjustment in this example). The Portfolio CO2 Pathway (from Step 3.1) is shown alongside for comparison.
Year | Asset 1 CI | Asset 2 CI | Asset 3 CI | Asset 4 CI | Portfolio CI(t) (GIA-wtd) | Portfolio CO2 Pathway(t)
2024 | 34.9058 | 106.6183 | 20.1965 | 15.5856 | 54.5759 | 91.681
2025 | 32.2132 | 96.535 | 18.7963 | 15.351 | 49.9326 | 83.7953
2026 | 29.5206 | 86.4517 | 17.396 | 15.1164 | 45.2892 | 75.6535
2027 | 28.6469 | 76.3685 | 15.9958 | 14.8818 | 40.8873 | 68.2135
2028 | 27.7732 | 66.2852 | 14.5956 | 14.6472 | 36.4855 | 61.1598
2029 | 24.4062 | 56.202 | 13.1953 | 14.4126 | 31.7526 | 54.4903
2030 | 21.0391 | 46.1187 | 11.7951 | 14.178 | 27.0197 | 47.9841
2031 | 20.5507 | 45.6732 | 10.8653 | 13.838 | 26.4937 | 42.4775
2032 | 20.0622 | 45.2278 | 10.3851 | 13.498 | 26.0632 | 37.0874
2033 | 19.5738 | 44.7823 | 9.9827 | 13.158 | 25.6491 | 32.0209
2034 | 19.0853 | 44.3369 | 9.7378 | 12.818 | 25.2686 | 27.265
2035 | 18.5969 | 43.8914 | 9.4776 | 12.478 | 24.8848 | 22.8221
2036 | 18.2554 | 43.446 | 9.1059 | 12.138 | 24.4968 | 18.6245
2037 | 17.914 | 43.0005 | 8.9092 | 11.798 | 24.146 | 14.7439
2038 | 17.5725 | 42.5551 | 8.8725 | 11.458 | 23.8291 | 11.4359
2039 | 17.2311 | 42.1096 | 8.7903 | 11.118 | 23.5026 | 8.7799
2040 | 16.8896 | 41.6641 | 8.653 | 10.778 | 23.1644 | 6.6463
2041 | 16.8896 | 41.2187 | 8.4276 | 10.438 | 22.8528 | 5.4634
2042 | 16.8896 | 40.7732 | 8.3715 | 10.098 | 22.5772 | 4.5694
2043 | 16.8896 | 40.3278 | 8.3501 | 9.758 | 22.3089 | 3.7841
2044 | 16.8896 | 39.8823 | 8.2886 | 9.418 | 22.0322 | 3.1003
2045 | 16.8896 | 39.4369 | 8.1435 | 9.078 | 21.7376 | 2.4601
2046 | 16.8896 | 38.9914 | 8.0683 | 8.738 | 21.4579 | 1.9998
2047 | 16.8896 | 38.546 | 8.0105 | 8.398 | 21.1819 | 1.5576
2048 | 16.8896 | 38.1005 | 7.9756 | 8.058 | 20.9108 | 1.1661
2049 | 16.8896 | 37.6551 | 7.9305 | 7.718 | 20.6375 | 0.80582
2050 | 16.8896 | 37.2096 | 7.9202 | 7.378 | 20.3716 | 0.46178
Portfolio_Carbon_Intensity(t) declines from 66.08 (2024) to 22.07 (2050) due to declining grid EFs, even with flat energy demand. Portfolio_EUI(t) remains constant at 177.52 kWh/m²/yr (not shown; held flat from reporting year). The Portfolio CO2 Pathway (col G) is from Step 3.1 for year-by-year comparison in Step 4.
STEP 3 Build the Weighted Portfolio CRREM Pathway
Build the year-by-year GIA-weighted Portfolio CRREM Pathway by applying the same GIA weights from Step 2.1 to each asset's individual CRREM Pathway, separately for every year from 2020 to 2050.
3.1 GIA-Weighted Portfolio CRREM Pathway (year by year, 2020 to 2050)
Year | Portfolio CO2 Pathway (kgCO2e/m²/yr) | Portfolio EUI Pathway (kWh/m²/yr) | Asset 1 CO2 | Asset 2 CO2 | Asset 3 CO2 | Asset 4 CO2
2020 | 126.602 | 281.6585 | 49.0941 | 248.2787 | 51.214 | 47.207
2021 | 118.3496 | 263.7606 | 45.993 | 231.8101 | 48.3107 | 44.1503
2022 | 109.1421 | 247.0401 | 42.1375 | 213.808 | 44.794 | 40.613
2023 | 100.2405 | 231.4163 | 38.4978 | 196.3848 | 41.3591 | 37.2053
2024 | 91.681 | 216.8141 | 35.0558 | 179.6198 | 38.0258 | 33.9409
2025 | 83.7953 | 203.164 | 31.8531 | 164.1863 | 34.9384 | 30.9452
2026 | 75.6535 | 190.4014 | 28.5954 | 148.243 | 31.7129 | 27.8703
2027 | 68.2135 | 178.4663 | 25.6402 | 133.6705 | 28.7484 | 25.0688
2028 | 61.1598 | 167.303 | 22.8655 | 119.8497 | 25.9169 | 22.4227
2029 | 54.4903 | 156.8595 | 20.2674 | 106.7771 | 23.2205 | 19.9301
2030 | 47.9841 | 147.0877 | 17.7623 | 94.0191 | 20.5688 | 17.5091
2031 | 42.4775 | 137.9428 | 15.6513 | 83.2196 | 18.3174 | 15.4636
2032 | 37.0874 | 129.383 | 13.6095 | 72.6435 | 16.0967 | 13.4701
2033 | 32.0209 | 121.3696 | 11.7097 | 62.6981 | 13.996 | 11.603
2034 | 27.265 | 113.8664 | 9.9448 | 53.3586 | 12.0118 | 9.8568
2035 | 22.8221 | 107.704 | 8.3134 | 44.6299 | 10.1471 | 8.2315
2036 | 18.6245 | 101.9064 | 6.7891 | 36.3791 | 8.3748 | 6.7018
2037 | 14.7439 | 97.5973 | 5.3952 | 28.7477 | 6.7271 | 5.2926
2038 | 11.4359 | 93.545 | 4.2174 | 22.2399 | 5.3164 | 4.095
2039 | 8.7799 | 89.7342 | 3.2788 | 17.0128 | 4.1799 | 3.1357
2040 | 6.6463 | 86.1504 | 2.5305 | 12.812 | 3.264 | 2.3671
2041 | 5.4634 | 83.1975 | 2.1138 | 10.4832 | 2.7576 | 1.9405
2042 | 4.5694 | 80.425 | 1.7996 | 8.7228 | 2.3748 | 1.6185
2043 | 3.7841 | 77.822 | 1.5258 | 7.1755 | 2.0374 | 1.3364
2044 | 3.1003 | 75.3781 | 1.2893 | 5.8279 | 1.7428 | 1.0914
2045 | 2.4601 | 73.0835 | 1.0703 | 4.5654 | 1.4658 | 0.86276
2046 | 1.9998 | 70.9292 | 0.91299 | 3.6573 | 1.2669 | 0.69854
2047 | 1.5576 | 70.9292 | 0.7637 | 2.7845 | 1.075 | 0.54136
2048 | 1.1661 | 70.9292 | 0.63273 | 2.0111 | 0.90466 | 0.40258
2049 | 0.80582 | 70.9292 | 0.51354 | 1.299 | 0.74745 | 0.27531
2050 | 0.46178 | 70.9292 | 0.40113 | 0.61853 | 0.59678 | 0.15419
Note: Columns D-G show individual asset CO2 pathways for transparency. The Portfolio CO2/EUI Pathways (B, C) are GIA-weighted averages of all four assets' pathways (Step 3.1). Individual EUI pathways are omitted for brevity but follow the same weighting logic.
Key insight: The portfolio pathway reflects the composition of the portfolio. If the portfolio is 80% office and 20% retail by floor area, the pathway will be dominated by office pathways. Changing the portfolio composition (buying or selling assets) changes the pathway.
STEP 4 Compare Portfolio Performance Against the Pathway
Compare the portfolio's projected performance trajectories (from Step 2.3) against the GIA-weighted CRREM Pathway (from Step 3.1) to determine whether the portfolio is currently aligned, and to find the CRREM Misalignment Year.
4.1 Reporting Year Comparison & Forward Outlook
Assumption | Applies to | Behavior |  |  |  | Notes
Portfolio_Carbon_Intensity | Carbon | Declines year by year (pre-computed in Step 2.3) |  |  |  | Portfolio_Carbon_Intensity(t) is the year-by-year trajectory from Step 2.3. Declines due to grid EF decline.
Portfolio_EUI | Energy | Held constant from reporting year (pre-computed in Step 2.3) |  |  |  | Portfolio_EUI(t) from Step 2.3. Flat at 177.52 (default; no climate adjustment in this example).
Portfolio_CO2_Pathway(t) | Carbon | Declines year by year (pre-computed in Step 3.1) |  |  |  | Weighted pathway is a full time series. Declines annually. From Step 3.1.
Portfolio_EUI_Pathway(t) | Energy | Declines year by year (pre-computed in Step 3.1) |  |  |  | Same for EUI. Full time series from Step 3.1.
4.2 Finding the Portfolio CRREM Misalignment Year
Calculation | Unit | Portfolio Value |  |  |  | Notes
Portfolio_CO2_Pathway (2024) | kgCO2e/m²/yr | 91.681 |  |  |  | From Step 3.1, year 2024. Portfolio CI (66.08) < this value = currently aligned for CO2.
Portfolio_EUI_Pathway (2024) | kWh/m²/yr | 216.8141 |  |  |  | From Step 3.1, year 2024. Portfolio EUI (177.52) < this value = currently aligned for EUI.
Portfolio_CO2_Misalignment_Year | year | 2035 |  |  |  | KEY OUTPUT. First year t where Portfolio_CI(t) from Step 2.3 > Portfolio_CO2_Pathway(t) from Step 3.1.
Portfolio_EUI_Misalignment_Year | year | 2030 |  |  |  | KEY OUTPUT. First year t (2020 to 2050) where Portfolio_EUI (from Step 2.3) > Portfolio_EUI_Pathway(t). Loop from 2020.
Methodology note: Portfolio_Carbon_Intensity(t) and Portfolio_EUI(t) are pre-computed in Step 2.3 as year-by-year GIA-weighted trajectories. Step 4 compares these trajectories against the Portfolio CRREM Pathway (Step 3.1). For CO2, the declining portfolio CI(t) is compared against the declining pathway. For EUI, portfolio EUI is held flat (default). The Misalignment Year is the first year the projected metric exceeds the pathway. If already exceeded in reporting year, report reporting year. If no crossing through 2050, report 'Beyond 2050'.

## Example Input
Example Input ¦ CRREM Pathways & Emission Factors ¦ 4 Assets (Subset)
This sheet contains a SUBSET of CRREM data for the 4 example assets only (metric/kWh). In a production tool, the full CRREM Pathways dataset (~1500 rows per metric) would be imported as separate sheets. The data below shows the specific rows used by the 4 example assets.
HOW TO INTEGRATE: Import the full CRREM Pathways dataset (available in 6 unit/area variants — see Integration Guide below). Look up pathways using the Code column (e.g. 'UK.OFF.CO2') with INDEX/MATCH or XLOOKUP. The Region Code must match the CRREM_Region resolved in Step 5.1 of the Asset Level Blueprint.
SECTION 1 Grid Electricity Emission Factors (kgCO2e/kWh) — row per grid region
Grid Region | Country | [5 empty] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
NYSTc | USA | [5 empty] | 0.31496 | 0.34334 | 0.30791 | 0.27248 | 0.23705 | 0.20163 | 0.1662 | 0.1547 | 0.1432 | 0.098902 | 0.054598 | 0.048171 | 0.041744 | 0.035318 | 0.028891 | 0.022464 | 0.017971 | 0.013478 | 0.0089854 | 0.0044927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HK | Hong Kong | [5 empty] | 0.65 | 0.65 | 0.534 | 0.476 | 0.54535 | 0.46613 | 0.3869 | 0.30768 | 0.22845 | 0.14923 | 0.07 | 0.0665 | 0.063 | 0.0595 | 0.056 | 0.0525 | 0.049 | 0.0455 | 0.042 | 0.0385 | 0.035 | 0.0315 | 0.028 | 0.0245 | 0.021 | 0.0175 | 0.014 | 0.0105 | 0.007 | 0.0035 | 0
UK | United Kingdom | [5 empty] | 0.23314 | 0.21233 | 0.19338 | 0.19339 | 0.1485 | 0.13234 | 0.11619 | 0.10003 | 0.083875 | 0.067718 | 0.051562 | 0.040833 | 0.035293 | 0.030649 | 0.027824 | 0.024822 | 0.020533 | 0.018263 | 0.01784 | 0.016891 | 0.015306 | 0.012706 | 0.012059 | 0.011812 | 0.011102 | 0.0094285 | 0.0085603 | 0.007893 | 0.0074913 | 0.0069709 | 0.0068512
JAP | Japan | [5 empty] | 0.47 | 0.4615 | 0.423 | 0.423 | 0.41673 | 0.41045 | 0.40418 | 0.39791 | 0.39164 | 0.38536 | 0.37909 | 0.37 | 0.36091 | 0.35182 | 0.34273 | 0.33364 | 0.32455 | 0.31545 | 0.30636 | 0.29727 | 0.28818 | 0.27909 | 0.27 | 0.26091 | 0.25182 | 0.24273 | 0.23364 | 0.22455 | 0.21545 | 0.20636 | 0.19727
In a full tool: ~50-80 rows (one per grid region worldwide). Grid EFs decline annually as electricity grids decarbonize. Non-electric EFs (gas, oil) are constant and stored in Section 4.
SECTION 2 CRREM CO2 Pathways (kgCO2e/m²/yr), 1.5°C Scenario — Subset for 4 example assets
Region | Country | Region Code | Property Type | Abbreviation | Code | Unit | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North America | USA | NYSTc_Mixed mild_4A | Office | OFF | NYSTc_Mixed mild_4A.OFF.CO2 | kgCO2/sqm | 49.0941 | 45.993 | 42.1375 | 38.4978 | 35.0558 | 31.8531 | 28.5954 | 25.6402 | 22.8655 | 20.2674 | 17.7623 | 15.6513 | 13.6095 | 11.7097 | 9.9448 | 8.3134 | 6.7891 | 5.3952 | 4.2174 | 3.2788 | 2.5305 | 2.1138 | 1.7996 | 1.5258 | 1.2893 | 1.0703 | 0.91299 | 0.7637 | 0.63273 | 0.51354 | 0.40113
Asia-Pacific | Hong Kong | HK | Shopping Center | RSM | HK.RSM.CO2 | kgCO2/sqm | 248.2787 | 231.8101 | 213.808 | 196.3848 | 179.6198 | 164.1863 | 148.243 | 133.6705 | 119.8497 | 106.7771 | 94.0191 | 83.2196 | 72.6435 | 62.6981 | 53.3586 | 44.6299 | 36.3791 | 28.7477 | 22.2399 | 17.0128 | 12.812 | 10.4832 | 8.7228 | 7.1755 | 5.8279 | 4.5654 | 3.6573 | 2.7845 | 2.0111 | 1.299 | 0.61853
Europe | United Kingdom | UK | Office | OFF | UK.OFF.CO2 | kgCO2/sqm | 48.0735 | 45.3472 | 42.0448 | 38.8193 | 35.6892 | 32.7899 | 29.761 | 26.9772 | 24.3183 | 21.7862 | 19.2961 | 17.182 | 15.0967 | 13.124 | 11.2608 | 9.5097 | 7.8454 | 6.2981 | 4.9735 | 3.9062 | 3.0461 | 2.5706 | 2.2111 | 1.8943 | 1.6176 | 1.3575 | 1.1707 | 0.99056 | 0.83059 | 0.68296 | 0.54148
Europe | United Kingdom | UK | Retail High Street | RHS | UK.RHS.CO2 | kgCO2/sqm | 57.0463 | 53.8145 | 49.8996 | 46.0759 | 42.3653 | 38.9284 | 35.3378 | 32.0377 | 28.8858 | 25.8841 | 22.9322 | 20.426 | 17.954 | 15.6155 | 13.4067 | 11.3309 | 9.3579 | 7.5237 | 5.9534 | 4.6882 | 3.6686 | 3.105 | 2.6788 | 2.3031 | 1.9752 | 1.6669 | 1.4455 | 1.2319 | 1.0422 | 0.86722 | 0.69949
Asia-Pacific | Japan | JAP | Distribution Warehouse Warm | DWW | JAP.DWW.CO2 | kgCO2/sqm | 47.207 | 44.1503 | 40.613 | 37.2053 | 33.9409 | 30.9452 | 27.8703 | 25.0688 | 22.4227 | 19.9301 | 17.5091 | 15.4636 | 13.4701 | 11.603 | 9.8568 | 8.2315 | 6.7018 | 5.2926 | 4.095 | 3.1357 | 2.3671 | 1.9405 | 1.6185 | 1.3364 | 1.0914 | 0.86276 | 0.69854 | 0.54136 | 0.40258 | 0.27531 | 0.15419
In a full tool: import the complete CRREM CO2 Pathways dataset (~1500 rows). Available in sqm (kgCO₂/m²/yr) and sqft (kgCO₂/ft²/yr) variants. Structure: Region ¦ Country ¦ Region Code ¦ Property Type ¦ Abbreviation ¦ Code ¦ Unit ¦ 2020–2050. Lookup key: Code column (e.g. 'UK.OFF.CO2'). For mixed-use assets, blend multiple rows using GIA shares.
SECTION 3 CRREM EUI Pathways (kWh/m²/yr), 1.5°C Scenario — Subset for 4 example assets
Region | Country | Region Code | Property Type | Abbreviation | Code | Unit | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North America | USA | NYSTc_Mixed mild_4A | Office | OFF | NYSTc_Mixed mild_4A.OFF.EUI | kWh/sqm | 175.2546 | 166.7752 | 158.7061 | 151.0275 | 143.7203 | 136.7667 | 130.1495 | 123.8525 | 117.8601 | 112.1577 | 106.7312 | 101.5672 | 96.6531 | 91.9767 | 87.5266 | 83.2918 | 79.2619 | 75.427 | 71.7776 | 68.3048 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
Asia-Pacific | Hong Kong | HK | Shopping Center | RSM | HK.RSM.EUI | kWh/sqm | 438 | 411.2324 | 386.1007 | 362.5049 | 340.3511 | 319.5512 | 300.0224 | 281.6871 | 264.4723 | 248.3096 | 233.1346 | 218.887 | 205.5101 | 192.9508 | 181.1589 | 170.0878 | 159.6932 | 149.9338 | 140.7709 | 132.1679 | 124.0907 | 116.5072 | 109.387 | 102.7021 | 96.4256 | 90.5327 | 85 | 85 | 85 | 85 | 85
Europe | United Kingdom | UK | Office | OFF | UK.OFF.EUI | kWh/sqm | 226.45 | 212.9979 | 200.3448 | 188.4435 | 177.2491 | 166.7197 | 156.8158 | 147.5002 | 138.7381 | 130.4964 | 122.7443 | 115.4528 | 108.5944 | 102.1434 | 96.0756 | 90.3683 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Europe | United Kingdom | UK | Retail High Street | RHS | UK.RHS.EUI | kWh/sqm | 271 | 256.1508 | 242.1153 | 228.8488 | 216.3093 | 204.4568 | 193.2538 | 182.6647 | 172.6557 | 163.1952 | 154.2531 | 145.801 | 137.8119 | 130.2607 | 123.1232 | 116.3767 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110
Asia-Pacific | Japan | JAP | Distribution Warehouse Warm | DWW | JAP.DWW.EUI | kWh/sqm | 137.2522 | 124.4887 | 112.9121 | 102.4121 | 92.8885 | 84.2505 | 76.4158 | 69.3096 | 62.8643 | 57.0184 | 51.7161 | 46.9068 | 42.5448 | 38.5885 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
In a full tool: import the complete CRREM EUI Pathways dataset (~1500 rows). Available in 4 unit/area variants: kWh/m²/yr, kWh/ft²/yr, kBtu/m²/yr, kBtu/ft²/yr. Same structure and lookup key as CO2 Pathways.
SECTION 4 Fixed Combustion Emission Factors (constant over time)
Fuel | Unit | [5 empty] | 2020: EF (kgCO2e/kWh)
Gas (Natural) | kWh | [5 empty] | 2020: 0.18316
Oil (Heating) | kWh | [5 empty] | 2020: 0.24677
Heat/Steam (District) | kWh | [5 empty] | 2020: 0.20431
On-site Renewables | kWh | [5 empty] | 2020: 0
INTEGRATION GUIDE How to use the CRREM Pathway sheets with this tool
Step | Action | bar: 2020 to 2021
1 | Available Pathway sheets | The CRREM Pathways file provides 6 sheets, one per unit/area combination: CO2 (sqm) kgCO₂/m²/yr • CO2 (sqft) kgCO₂/ft²/yr • EUI kWh (sqm) kWh/m²/yr • EUI kWh (sqft) kWh/ft²/yr • EUI kBtu (sqm) kBtu/m²/yr • EUI kBtu (sqft) kBtu/ft²/yr. All ~1500 rows, identical structure: Region ¦ Country ¦ Region Code ¦ Property Type ¦ Abbreviation ¦ Code ¦ Unit ¦ 2020–2050. | bar: 2020 to 2021
2 | Choose the right sheet pair | Select ONE CO2 + ONE EUI sheet based on area unit and energy unit: m²+kWh → sqm/kWh sheets • ft²+kWh → sqft/kWh sheets • ft²+kBtu → sqft/kBtu sheets • m²+kBtu → sqm/kBtu sheets. This workbook’s examples use metric (sqm) + kWh. Sections 2 & 3 above show the corresponding subset.
3 | Look up pathways by Code | Each pathway row has a unique Code in column F (e.g. 'UK.OFF.CO2', 'AUS6.DWW.EUI'). Use for exact lookup via INDEX/MATCH or XLOOKUP. Or look up by Region Code (col C) + Abbreviation (col E). For mixed-use: blend multiple rows by GIA shares. | bar: 2020 to 2021
4 | Match CRREM_Region to Region Code | CRREM_Region from Step 5.1 must match Region Code (col C). National: country code (UK, HK, AT). USA sub-national: eGRID + climate zone (e.g. 'NYSTc_Mixed mild_4A'). Australia: NCC Zone (e.g. 'NCC Zone 6'). Canada: province (e.g. 'Alberta').
5 | Wire formulas to pathway sheets | Replace hardcoded pathway values with INDEX/MATCH formulas referencing the imported pathway sheets via Code column (F). For Step 6 (stranding year), reference the full year row as an array to find the crossover point. | bar: 2020 to 2021
6 | AI agent / script integration | AI agent workflow: (a) determine area unit (sqm/sqft) + energy unit (kWh/kBtu) → select correct sheet pair, (b) resolve CRREM_Region from Country + Postal_Code, (c) build Code: {Region Code}.{Abbreviation}.CO2/.EUI, (d) look up full pathway row. | bar: 2020 to 2021